ENVIRONMENTAL INSPECTION ACCORDING TO ART. 32 OF LAW ON INSPECTION SUPERVISION

# INSTALLATION: name, A/B IPPC code, town, location

# CHECKLIST – NON/ROUTINARY/CONTROL INSPECTION

# A/B-IPPC PERMIT NUMBER XXXXX

# Issued on xxxx, according to the Law of Environment (part XII)

PURPOSE OF THIS DOCUMENT:

The following checklist is a template that can be used by inspectors to prepare their own checklist during the preparation of the inspection. As a help for such preparation, the inspector can use the complementary checklist about Horizontal (applicable to a wide range of installations) Best Available Techniques (BAT), by extracting those parts of it which are relevant for the installation that will be inspected, and include them in this template of checklist.

This template of checklist is meant to provide a structure for a homogeneous definition of inspection checklists.

The present checklist includes the following boxes, providing examples of relevant topics to be checked:

GENERAL DATA

General elements of management

Communication duties

SECTORIAL TOPICS

Air emissions

Noise and vibration

Waste water

Soil and groundwater

Waste

LIST OF POLLUTANTS TO BE ASSESSED

# GENERAL DATA

| Date of Inspection |  |
| --- | --- |
| Type of Inspection | ( Routinary ( Non Routinary ( Control (follow-up) |
| Field of inspection | ( Integrated (all environmental impacts checked) ( Partial (specify laws checked) |
| Name of Company |  |
| Location of the plant |  |
| Legal address |  |
| Industrial activity |  |
| Permit (number, date and title) |  |
| Permit holder |  |
| Telephone |  |
| E-mail |  |
| Contact person for integrated permit-related issues |  |
| Representative competent authority |  |

ADMINISTRATIVE ORGANISATION / INTERNAL CONTROL

| TOPIC: GENERAL ELEMENTS OF MANAGEMENT |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Presentation of the current state of the plant by the operator by means of layout and drawings |  |  | Check whether any modification of the plant occurred which has not been authorized. Check areas of storage and emission points. |  |
| Environmental Management System (EMS) |  |  | Check the implementation of a structured EMS. In case the installation is EMAS or ISO14001, check validity of the certificate. . Interview with operator to assess the application of the procedures. |  |
| Training of personnel |  |  | Check the existence of an internal Training Plan on environmental topics (relevant to the installation) |  |
| Management of accidents/incidents |  |  | Check how incidents have been managed: procedures in place, register of events, follow-up actions to repair/correct |  |
| Register of Maintenance |  |  | Check the presence of a Register where the operator takes note of maintenance services occurred in the plant. |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |

| TOPIC: COMMUNICATION DUTIES |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Self-monitoring report |  |  | Check the correct delivery to the Competent Authority of the self-monitoring report. Check results of the monitoring. |  |
| Incidents/Emission Limit Values (ELVs) |  |  | Check if the operator communicates incidents and exceedances of ELVs to the competent authority |  |
| Installation changes |  |  | Check that the operator asked for authorization for making changes to the installation, as specified in legislation. |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |

SECTORIAL TOPICS

| TOPIC: AIR EMISSIONS |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Pollution abatement systems |  |  | Air emissions collection Air emissions treatment |  |
| Pollution abatement systems |  |  | Concentration and quantity of contaminants before and after the treatment. Duration of operation daily/annually (h) |  |
| Air emission continuous monitoring |  |  | Check the programme of maintenance and calibration of the air emission measurements equipment |  |
| Sampling points |  |  | Check correctness of sampling points according to EU standards |  |
| Dust |  |  |  |  |
| Odour |  |  |  |  |
| Greenhouse gases |  |  |  |  |
| xxxx |  |  |  |  |

| TOPIC: NOISE AND VIBRATION |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |

| TOPIC: WASTE WATER |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Pollution abatement systems |  |  | Concentration and quantity of contaminants before and after the treatment. Wastewater quantity (m3/day) |  |
| xxxx |  |  |  |  |

| TOPIC: SOIL AND GROUNDWATER |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Rainwater |  | (BREF “Common Waste Water and Waste Gas Treatment/ Management Systems in the Chemical Sector”) Process water should be segregated from rainwater and other water effluent, to allow reuse or recycling, as well as to minimise the amount of waste water which requires treatment, the installation of a roof over certain process areas, loading and unloading bays, etc. Prevention of uncontrolled effluents from the site, such as contaminated rainwater. Rainwater from production areas is collected either in sumps on the spot or in other central facilities (e.g. emergency storage tanks or lagoons) to allow inspection and then a decision is to be made on whether to discharge it directly to the receiving water or to a waste water treatment facility. | Existence of systems to separate and treat first flush rainwater from later rainfall |  |
| Tank bunds |  | (BREF “Emissions from Storage”) Design a tank farm bund (or dike) to contain large spills, such as that caused by a shell rupture or a large overfill. The bund consists of a wall around the outside of the tank (or tanks) to contain any product in the unlikely event of a spill personnel both on and off-site. The volume is normally sized to accommodate the contents of the largest tank within the bund. | Presence of tank bunds to contain spills from storage tanks and drums of waste, to prevent soil contamination in case of leakage. |  |

| TOPIC: WASTE |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Storage |  |  |  |  |
| Waste generated |  |  | Waste classification (according to national list of waste) Quantity (kg/day) Hazardous / non-hazardous Disposal / Recycling (according to applicable national waste legislation) |  |
| Waste acceptance criteria |  |  |  |  |

LIST OF POLLUTANTS TO BE ASSESSED

| Air emission pollutants | Waste water pollutants |
| --- | --- |
| SO2 | Organohalogen compounds |
| Other S compounds | Organophosphorus compounds |
| NOx | Organotin compounds |
| Other N compounds | Substances / mixtures possessing carcinogenic/mutagenic properties |
| CO | Persistent hydrocarbons and persistent and bioaccumulable organic toxic substances |
| VOC | CN |
| Metals | Metals |
| Metals compounds | Metals compounds |
| Fine particulate matter | As |
| Asbestos suspended particulates | As compounds |
| Asbestos fibres | Biocides |
| Cl | Suspended solids |
| Cl compounds | Nitrates |
| F | Phosphates |
| F compounds | BOD5 |
| As | COD |
| As compounds |  |
| CN |  |
| Substances / mixtures possessing carcinogenic/ mutagenic properties |  |
| Polychlorinated dibenzodioxins |  |
| Polychlorinated dibenzofurans |  |

# Footnotes

Define the kind and code of industrial activity according to the Annex I and II of the Ordinance 89/05

This list is not meant to be exhaustive; it lists common pollutants that it is usually worth to detect.